## Slide 1
Sector III
Sector II
Sector I
Sector I: Rolling Area
Sector II: BFs Area
Sector III: Gasholders Area
Pressure: 620 mm.c.a.
New COG Distribution Layout - Factory of Veriña

## Slide 2
COG Distribution Layout - Factory of Veriña – Sector III
ND 1400; 560 m

## Slide 3
COG Distribution Layout - Factory of Veriña – Sector II
ND 1400; 750 m

## Slide 4
COG Distribution Layout - Factory of Veriña – Sector I
ND 1400; 210 m
ND 1200; 380 m
ND 800; 40 m
ND 700; 240 m